# Workflow One Model and Data

Owner 1  |  Build, validate, and package the ventilator pressure prediction model

Goal Deliver a reproducible model that predicts the pressure curve for each breath in the supplied test-lung dataset, with clear limits and a stable interface for the offline app.

# Dataset facts

train.csv contains 6,036,000 rows: 75,450 breaths with 80 time samples each. It includes id, breath_id, R, C, time_step, u_in, u_out, and measured pressure. test.csv contains 4,024,000 rows without pressure answers. sample_submission.csv has the output columns id and pressure. R and C represent artificial test lung categories; this dataset does not contain individual patients or ARDS outcomes.

# Work sequence

| Step | Work to do | Deliverable / completion check |
| --- | --- | --- |
| 1. Data audit | Write a loader and checks for columns, nulls, ordering, row counts, 80 samples per breath, and the nine R-C combinations. Keep raw CSVs unchanged. | Data dictionary and audit report; failures are visible, not silently fixed. |
| 2. Safe split | Split complete breath_id groups into train and validation sets. Preserve chronological order within every breath. Keep a second stress check by R-C combination. | Saved split IDs and documented random seed; no breath appears in both sets. |
| 3. Baseline | Build a simple reference model using R, C, time_step, u_in, and u_out. Exclude id and breath_id from predictors. | Baseline predictions and MAE/RMSE recorded on held-out breaths. |
| 4. Better model | Compare a tree-based model and one sequence model that reads a breath over time. Use the same split and metric code. | Model comparison table and chosen model with reasons. |
| 5. Error review | Plot predicted versus measured pressure curves for full breaths. Check error by R-C group and by breath phase. Review extreme errors. | Error report with plots and known weak cases. |
| 6. Test prediction | Train the selected version as documented, predict every test.csv row, and join predictions to sample_submission by id. | Output has exactly one finite pressure per test id and matches the submission schema. |
| 7. Package | Create an inference wrapper, model file, preprocessing config, version, and short model card. Include a mock/example breath for the app developer. | Model bundle and interface tests run without access to training files. |

# Shared interface contract

Stable first interface Input: one breath as ordered rows: id, time_step, u_in, u_out, R, C. R and C may be null in the interface definition, but this first benchmark model requires them. Output: the same ordered id values, one predicted pressure per row, optional uncertainty per row, status (ok or abstain), reason if abstaining, and model_version. The app must match results by id, never assume a row order after file operations.

The exact function name and file format can be chosen at kickoff, then written in a shared interface note before either side implements adapters. Keep input units and null handling explicit. If model work shows that an input is required, flag it immediately; do not silently invent a value.

## Suggested model folder

src/model_data/ for audit and splitting; src/model_training/ for training; src/model_evaluation/ for metrics and plots; artifacts/model/ for the versioned inference bundle; reports/model/ for results. Keep the app code in the other owner’s folders to reduce merge conflicts.

# Acceptance checks

All predictions map to the correct original id and are finite.

Validation is performed by held-out breath, not randomly by row.

MAE/RMSE, waveform plots, subgroup results, random seed, and model version are recorded.

The app can load the packaged inference wrapper without reading the large CSV files.

The readme states that this predicts pressure on an artificial test lung benchmark and is not validated for patient care.

# Coordination and boundaries

Agree on the interface fields, units, and output status with Owner 2 during the first working session.

Owner 2 may use a mock predictor until this model bundle is ready; do not block the app on model training.

Keep all training, split, and model artifacts inside the model folders. Raise shared file changes early.

Do not claim that this dataset learns a real patient’s mechanics or proves the effect of changing ventilator settings. Such claims require additional clinical and intervention data.

# Handoff package

Model bundle and callable inference wrapper.

Input/output schema and a working example breath.

Validation metrics and plots, including weak cases and uncertainty limitations.

Instructions to install/run offline and the model version identifier.

One short merge session with Owner 2 to connect the wrapper to the replay app and resolve interface mismatches.

# Joint merge workflow

After both parallel tracks are complete, bring the work together in this order. Until then, each owner should work in their assigned folders and keep the shared interface stable.

Freeze each branch and share the handoff package. Owner 1 shares the model bundle, schema, example input, validation results, and known limits. Owner 2 shares the offline app, mock predictor, fixture breaths, and run instructions.

Check the shared contract together: fields and units, breath ordering, output row IDs, pressure units, status values, and model version. Resolve differences before connecting the real model.

Merge the app and model folders into one integration branch. Keep the mock predictor available behind a development option so the app can still be checked if the model bundle is unavailable.

Connect the real benchmark model through the predictor adapter. Replay the same fixture breath with both mock and real predictor; confirm output IDs and curve lengths match the inputs.

Run the shared checks: app launches offline; known breaths load; output aligns by id; invalid data and abstain status are visible; no stale curve is shown; no control command or network dependency exists.

Re-run the model validation report from its saved split and version. Confirm the model shown in the app is the same version that produced the report.

Prepare one combined demo and README. Demonstrate a normal breath, a measured-versus-predicted training breath, a test breath, and an invalid/abstain case. State clearly that this is an artificial test-lung prototype, not a clinical system.

## Final shared deliverable

A runnable offline benchmark demonstration, versioned pressure model, reproducible evaluation notes, shared interface definition, and a clear list of what is not validated. Real patient-specific use remains out of scope until approved clinical waveforms, a ventilator interface, and staged clinical validation are available.