# Workflow Two Offline App and Integration

Owner 2  |  Build the offline replay application, data handling, and integration shell

Goal Deliver an offline application that can load a breath, run a predictor through a fixed interface, and show the predicted pressure curve. Start with a mock predictor so this work can proceed while Owner 1 trains the model.

# Inputs and limits

Use the supplied CSV format to build a replay prototype. Each breath has 80 ordered samples. The initial model can use R and C because they are supplied in these artificial test lung files. The application must keep those fields optional in its input adapter so a later real ventilator adapter can provide the channels it actually measures. Do not describe the benchmark replay as patient-specific clinical decision support.

# Work sequence

| Step | Work to do | Deliverable / completion check |
| --- | --- | --- |
| 1. App skeleton | Create the local app structure, configuration, logging, and startup flow. Keep app components separate from model training. | App launches on a development computer with no internet connection. |
| 2. Dataset replay | Load one selected breath from train.csv or test.csv, group by breath_id, sort by time_step, and validate required fields. Avoid loading the full large CSV for every interaction. | User can select and replay a breath; malformed or incomplete data shows a clear error. |
| 3. Mock predictor | Implement the shared prediction interface with a deterministic mock result and a visible mock label. Use the same input and output structure that Owner 1 will supply. | The app runs end-to-end before the real model exists. |
| 4. Display | Show input timeline and predicted pressure curve. When train data is used, optionally show measured pressure beside the prediction. Show breath id, model version, status, and missing/invalid data state. | Curves and labels match the selected breath and row IDs. |
| 5. Offline storage | Keep demo configuration and any logs local. Provide a reset/clear demo data control if local copies are saved. Do not send signals to cloud services. | Network can be disconnected and app remains usable. |
| 6. Error handling | Handle missing samples, invalid numbers, duplicate IDs, wrong order, predictor timeout, abstention, and unavailable model. Never display an old prediction as if it belongs to the current breath. | Each failure produces a visible status; app remains responsive. |
| 7. Model integration | Swap the mock predictor for Owner 1’s packaged wrapper without changing the display or CSV reader. Align schema and units together. | Same app screens work with mock and real benchmark predictor. |
| 8. Package demo | Write run instructions, supported OS/runtime notes, sample workflow, and known limitations. Test with internet disabled. | A second person can launch and demonstrate the app using the handoff notes. |

# Shared interface contract

Stable first interface Input: one breath as ordered rows: id, time_step, u_in, u_out, R, C. R and C are optional at the interface level; the first benchmark model is expected to require them. Output: row IDs, predicted pressure values in the same row alignment, optional uncertainty values, status (ok or abstain), reason if needed, and model_version. Validate the output length and IDs before plotting.

At kickoff, agree with Owner 1 on the exact function name, file format, units, and null behavior. Until the real predictor arrives, create a mock that follows this contract exactly. If the app receives an abstain or error status, show that result plainly and do not draw a plausible-looking curve from stale values.

## Suggested app folder

src/app/ for screens and interactions; src/data_io/ for CSV and breath loading; src/predictor_adapter/ for mock and model wrapper; src/local_storage/ for local settings/logs; tests_or_checks/app_smoke/ for manually repeatable demo checks; docs/app/ for setup instructions. Keep model training and evaluation folders under Owner 1.

# Acceptance checks

Runs with network disabled and does not require cloud services.

Loads a breath and preserves exact row-id alignment from input to output.

Shows whether output came from mock or real benchmark model and displays model version/status.

Handles invalid or unavailable predictions without showing stale or fabricated pressure.

Uses only read-only files and has no ventilator-control connection.

Calls the result a test-lung replay; it makes no patient safety or treatment claims.

# Coordination and boundaries

Publish the agreed input/output contract before building the adapter; make the mock follow it.

Owner 1 owns preprocessing, training, model evaluation, and pressure prediction artifacts.

Owner 2 owns app, file loading, display, offline behavior, and packaging. Avoid editing Owner 1’s source folders.

Build against fixture breaths and mock outputs while model development continues.

Do not add live ventilator connectivity or controls in this prototype.

# Handoff package

Offline app source and launch instructions.

Mock predictor and fixture breaths used for demonstration.

Interface contract implemented by the adapter.

Screenshots or a brief walkthrough showing normal prediction and error/abstain behavior.

A list of any interface assumptions Owner 1 must meet for final merge.

# Joint merge workflow

After both parallel tracks are complete, bring the work together in this order. Until then, each owner should work in their assigned folders and keep the shared interface stable.

Freeze each branch and share the handoff package. Owner 1 shares the model bundle, schema, example input, validation results, and known limits. Owner 2 shares the offline app, mock predictor, fixture breaths, and run instructions.

Check the shared contract together: fields and units, breath ordering, output row IDs, pressure units, status values, and model version. Resolve differences before connecting the real model.

Merge the app and model folders into one integration branch. Keep the mock predictor available behind a development option so the app can still be checked if the model bundle is unavailable.

Connect the real benchmark model through the predictor adapter. Replay the same fixture breath with both mock and real predictor; confirm output IDs and curve lengths match the inputs.

Run the shared checks: app launches offline; known breaths load; output aligns by id; invalid data and abstain status are visible; no stale curve is shown; no control command or network dependency exists.

Re-run the model validation report from its saved split and version. Confirm the model shown in the app is the same version that produced the report.

Prepare one combined demo and README. Demonstrate a normal breath, a measured-versus-predicted training breath, a test breath, and an invalid/abstain case. State clearly that this is an artificial test-lung prototype, not a clinical system.

## Final shared deliverable

A runnable offline benchmark demonstration, versioned pressure model, reproducible evaluation notes, shared interface definition, and a clear list of what is not validated. Real patient-specific use remains out of scope until approved clinical waveforms, a ventilator interface, and staged clinical validation are available.